NOTE: Consider the safety and health application of each item in the checklist below before the project begins and determine which of them fall within your company’s scope of work. Be sure to plan for each item that applies to your company on the project.

Project Name: ___________________________	Date:	______________

Project Manager: _________________________	Foreman: __________________

Pre-Project Safety Checklist

- General Safety and Health Considerations

- Scheduling

- Communication

- Access and egress routes

- Housekeeping

- Incident reporting

- Incident response procedures

- Unsafe conditions reporting

- Public exposure protection

- Walkways and pedestrian sheds for pedestrians

- Potentially hazardous adjacent operations

- Overtime work

- Shift work

- Site security

- Special hazards

- Complex Tasks

- Critical lifts

- Excavations

- Confined Space Entry

- Work around high voltage

- Personal Protective Equipment

- Hardhats

- Safety Glasses

- Gloves

- Hearing Protection

- Respiratory Protection

- Fall Arrest Systems

- Materials and Materials Handling

- Materials delivery and storage

- Material handling

- Construction equipment in shared work areas

- Safety equipment in shared work areas

- Traffic and Vehicles

- Traffic control

- Parking facilities

- Vehicular access control

- Fire Prevention/Protection

- Fire Extinguishers

- Welding Screens

- Fire Watch

- Flammable/combustible materials

- Chemical Exposures

- Chemical use and storage

- Controls for chemical hazards

- Emergency and First Aid

- Emergency action plan

- Onsite first aid

- Medical treatment facility access

- Emergency eye wash and emergency shower facilities

- Weather/Environment

- Inclement weather protection plan

- Potential for earthquakes and other environmental issues

- Worker Facilities

- Change facilities

- Sanitary facilities

- Washrooms

- Shower facilities

- Clean rooms and storage areas

- Decontamination facilities

- Break rooms/areas