<COMPANY NAME>

JOB COMPLETION CHECKLIST

DATE _______________                                               JOB NUMBER_______________

| ITEM | CHECK WHEN COMPLETED |
| --- | --- |

| A. Company preliminary punch list |  |  |
| --- | --- | --- |
| 1 | Valve tags installed |  |
| 2 | Pipe markings installed |  |
| 3 | Testing and flushing complete |  |
| 4 | All equipment aligned |  |
| 5 | Proper rotations of mechanical equipment checked |  |
| 6 | Systems sterilized and filled |  |
| 7 | Utilities energized |  |
| 8 | Damaged insulation repaired |  |
| 9 | Touch-up painting completed |  |
| 10 | Thermometers, gauges and flow devices installed |  |
| 11 | Condensate drains trapped, supported and properly pitched |  |
| 12 | Temporary filters replaced |  |
| 13 | Housekeeping completed |  |
| 14 | Startup completed |  |
| 15 | Factory startup personnel scheduled |  |
| 16 | Instructions to owner completed |  |
| 17 | As-built drawings completed |  |
| 18 | Testing and balance completed, reports issued |  |

| B. Punch list |  |  |
| --- | --- | --- |
| 1 | Completion date established |  |
| 2 | Copies turned over to subcontractor and company personnel |  |
| 3 | All items checked |  |
| 4 | Proper authority notified of completion |  |

| C. Demobilization |  |  |
| --- | --- | --- |
| 1 | Tools and equipment returned to warehouse |  |
| 2 | Unused materials returned |  |
| 3 | Trailers and support items removed |  |

| D. Warranty initiation |  |  |
| --- | --- | --- |
| 1 | Owner notified of warranty period in writing |  |
| 2 | Warranty coverage outlined in letter |  |

| E. Operation and maintenance manuals completed including: |  |  |
| --- | --- | --- |
| 1 | Copy of valve tag lists |  |
| 2 | Phone numbers of company service department (regular and emergency) |  |
| 3 | Phone numbers of major equipment suppliers |  |
| 4 | Testing and balance reports |  |
| 5 | Warranty letter and description of items covered under warranty |  |
| 6 | Parts lists on major items |  |
| 7 | Schematic diagrams, flow charts, or systems and control circuits |  |
| 8 | Vendor list including item and original purchase order numbers, model and serial numbers |  |
| 9 | Manufacturer operation and maintenance manuals |  |

| F. Final invoice plus retainage submitted |  |
| --- | --- |

| G. Letter of completion submitted |  |
| --- | --- |

| H. Letters of appreciation and recognition sent |  |
| --- | --- |